SECTION 07 21 13 – BOARD INSULATION

Alternatively, the text for each product may be cut & pasted into their general MasterFormat Sections if desired:

SECTION 07 21 00 – THERMAL INSULATION

This section includes editing notes to assist the user in editing the section to suit project requirements. These notes are included as hidden text, and can be revealed or hidden by the following method in Microsoft Word:

Display the FILE tab on the ribbon, click OPTIONS, then DISPLAY. Select or deselect HIDDEN TEXT.

This specification has been prepared by Atlas Roofing Corporation for use in preparing a project specification covering EnergyShield® XR rigid board insulation in above-grade assemblies and below-grade applications.

The following should be noted in using this specification:

Hypertext links to specific websites are included after manufacturer names and names of organizations whose standards are referenced within the text, to assist in product selection and further research. Hypertext links are contained in parenthesis and shown in blue, e.g.: (www.astm.org)

Optional text requiring a selection by the user is enclosed within brackets and as red text, e.g.: “Color: [Red.] [Black.]"

For assistance on the use of the products in this section, contact Atlas Roofing Corporation by calling (800) 388-6134, or visit their website at www.atlasrwi.com.

- GENERAL

  - SUBMITTALS

    - Action Submittals:

      - Product Data.

      - Evaluation Reports.

      - Samples.

    - Informational Submittals:

      - Certificate of Compliance.

- PRODUCTS

  - APPLICATIONS

      - Insulation used in [above-grade exterior wall] [below-grade foundation wall] [perimeter foundation] [under slab] application.

  - MANUFACTURERS

    - Basis of Design: EnergyShield XR polyisocyanurate (polyiso) rigid insulation by Atlas Roofing Corporation. (www.atlasrwi.com)

    - Equivalent products by following manufacturers with approval:

      - Atlas Molded Products ThermalStar X-Grade expanded polystyrene (EPS) rigid insulation.

      - Dupont Styrofoam extruded polystyrene (XPS) rigid insulation.

      - Owens Corning Foamular 250 extruded polystyrene (XPS) rigid insulation.

    - Substitutions: Refer to Division 01.

SPEC NOTE: criteria outlined in this specification are based on the performance of EnergyShield XR, which in many cases exceeds that of the identified equivalent products above. Any other foam products by other manufacturers must include an engineering evaluation and documentation for support, which is exceedingly important for NFPA 285 compliance. Substitution requests without this information should not be accepted.

  - MATERIALS

    - Board Insulation:

Product: EnergyShield XR polyiso continuous insulation. (wall.atlasrwi.com/energyshield-xr)

Description: ASTM C1289, Type 1, Class 1 & 2; closed cell polyisocyanurate foam core with durable tri-laminate facers on both sides.

      - Meets performance requirements per ASTM C578, Physical Properties Table 1 complying with Type IV.

      - Flame Spread / Smoke Developed rating of foam core: Class A, Maximum 25/450 per ASTM E84 / UL723.

      - Fire Propagation Characteristics: Compliant with NFPA 285 testing as part of an approved wall assembly. (DrJ TER 1306-03)

SPEC NOTE: may eliminate XPS as material option.

      - Manufactured free from CFCs, HCFCs, and HFCs and is formaldehyde free.

SPEC NOTE: may eliminate XPS as material option.

      - Solvent resistant: Yes

      - Compressive strength: Minimum 25 PSI, tested to ASTM D1621.

      - Moisture vapor transmission: Maximum 0.1 perm, tested to ASTM E96 desiccant method.

      - Water absorption of foam core: Maximum 0.3 percent by volume, tested to ASTM C272.

      - Service temperature: Minus 100 to plus 250 degrees F.

SPEC NOTE: eliminates XPS as material option.

      - Global Warming Potential (GWP): Maximum 10.

SPEC NOTE: eliminates XPS as material option.

      - Recycled content: Minimum 10 percent.

      - Mold resistance: UL 2824, Highly resistant.

SPEC NOTE: may eliminate certain products as substitutions.

      - Tested to UL 2818; GREENGARD Gold certified.

SPEC NOTE: may eliminate certain products as substitutions.

      - Embodied Carbon: per EPD, less than 2.5 kg CO2 eq / m2 RSI.

SPEC NOTE: [may eliminate certain products as substitutions.

      - Thickness and insulation value: [0.75 inch, R-value 5.0.] [1.0 inch, R-value 6.5.] [1.2 inch, R-value 7.5] [1.5 inch, R-value 10.0.] [2.0 inch, R-value13.1.] [2.4 inches, R-value 15.0.] [2.5 inches, R-value 16.0.] [3.0 inches, R-value 19.7.] [3.5 inch, R-value 22.2.] [4.0 inch, R-value 26.0.]

- EXECUTION

  - INSTALLATION

    - Install insulation in accordance with manufacturer’s instructions.

END OF SECTION